Product Change Notification

| PCN No. | 107865 | Issue Date | 05/17/2021 |
| --- | --- | --- | --- |
| - Overview |  |  |  |
| Type of Change | Product Change |  |  |
| Description of Change | Earthquake Cable no longer included with MBBU |  |  |
| Reason for Change | The wall mounting hardware (included) eliminates the need for an earthquake secure system |  |  |
| - Affected Products information |  |  |  |
| F42-10S-100: QUATRA RED Monitor and Battery Backup Unit Small F42-10L-100: QUATRA RED Monitor and Battery Backup Unit Medium F42-10X-100: QUATRA RED Monitor and Battery Backup Unit Large |  |  |  |
| - Impacts of Change |  |  |  |
| Risk Assessment | No risk as the wall mounting hardware offers the same functionality. |  |  |
| Suggested Implementation Plan | Units ordered after 5/17/2021 won’t include the earthquake cable |  |  |
| - Customer Feedback |  |  |  |
| Should you have any feedback on this PCN, please contact our Customer Support staff at support@cel-fi.com |  |  |  |